## SeqReport
Markes International Limited.
Markes International Limited 1000B Central Park Western Avenue Bridgend CF31 3RT UK
Sequence report | [9 empty] | Report Date : - |  | 2022-10-19
Sequence: Set_15-24.08.22-Klebsiella Pneumonia (737)
Project: |  |  | InVitro-D2
Path: |  |  | D:\TOF Data\RS\InVitro-D\2022
Sample 1 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 321-Set_15-TD_4698312022-09-01_19-38-23_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 51
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469831
|  | Thermal Cycles |  |  |  | 22
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/01 19:47:03
|  | Pressure Ratio |  |  |  | 0.94
|  | Peak Desorb Temp |  |  |  | 307.0
|  | Desorb End Time |  |  |  | 2022/09/01 19:52:04
|  | Trap Fire Time |  |  |  | 2022/09/01 19:59:39
|  | External signal |  |  |  | Reset
Sample 2 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 322-Set_15-TD_4698322022-09-01_20-04-24_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 52
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469832
|  | Thermal Cycles |  |  |  | 21
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/01 20:25:35
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.2
|  | Desorb End Time |  |  |  | 2022/09/01 20:30:36
|  | Trap Fire Time |  |  |  | 2022/09/01 20:38:19
|  | External signal |  |  |  | Reset
Sample 3 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 323-Set_15-TD_4698332022-09-01_20-43-01_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 53
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469833
|  | Thermal Cycles |  |  |  | 24
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/01 21:03:45
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.2
|  | Desorb End Time |  |  |  | 2022/09/01 21:08:45
|  | Trap Fire Time |  |  |  | 2022/09/01 21:16:23
|  | External signal |  |  |  | Reset
Sample 4 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 324-Set_15-TD_4698362022-09-01_21-21-05_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 54
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469836
|  | Thermal Cycles |  |  |  | 27
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/01 21:41:50
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.2
|  | Desorb End Time |  |  |  | 2022/09/01 21:46:50
|  | Trap Fire Time |  |  |  | 2022/09/01 21:54:30
|  | External signal |  |  |  | Reset
Sample 5 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 325-Set_15-TD_4698372022-09-01_21-59-17_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 55
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469837
|  | Thermal Cycles |  |  |  | 29
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/01 22:20:27
|  | Pressure Ratio |  |  |  | 0.94
|  | Peak Desorb Temp |  |  |  | 306.4
|  | Desorb End Time |  |  |  | 2022/09/01 22:25:28
|  | Trap Fire Time |  |  |  | 2022/09/01 22:33:05
|  | External signal |  |  |  | Reset
Sample 6 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 326-Set_15-TD_4698382022-09-01_22-37-48_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 56
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469838
|  | Thermal Cycles |  |  |  | 25
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/01 22:58:33
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 306.3
|  | Desorb End Time |  |  |  | 2022/09/01 23:03:33
|  | Trap Fire Time |  |  |  | 2022/09/01 23:11:19
|  | External signal |  |  |  | Reset
Sample 7 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 327-Set_15-TD_4698392022-09-01_23-16-02_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 57
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469839
|  | Thermal Cycles |  |  |  | 28
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/01 23:37:17
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 306.2
|  | Desorb End Time |  |  |  | 2022/09/01 23:42:17
|  | Trap Fire Time |  |  |  | 2022/09/01 23:49:58
|  | External signal |  |  |  | Reset
Sample 8 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 328-Set_15-TD_4698422022-09-01_23-54-40_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 58
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469842
|  | Thermal Cycles |  |  |  | 18
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 00:15:56
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.1
|  | Desorb End Time |  |  |  | 2022/09/02 00:20:57
|  | Trap Fire Time |  |  |  | 2022/09/02 00:28:36
|  | External signal |  |  |  | Reset
Sample 9 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 329-Set_15-TD_4698432022-09-02_00-33-24_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 59
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469843
|  | Thermal Cycles |  |  |  | 22
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 00:54:34
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.6
|  | Desorb End Time |  |  |  | 2022/09/02 00:59:34
|  | Trap Fire Time |  |  |  | 2022/09/02 01:07:12
|  | External signal |  |  |  | Reset
Sample 10 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 330-Set_15-TD_4698442022-09-02_01-11-58_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 60
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469844
|  | Thermal Cycles |  |  |  | 30
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 01:33:11
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 306.1
|  | Desorb End Time |  |  |  | 2022/09/02 01:38:12
|  | Trap Fire Time |  |  |  | 2022/09/02 01:45:49
|  | External signal |  |  |  | Reset
Sample 11 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 331-Set_15-TD_4698452022-09-02_01-50-31_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 61
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469845
|  | Thermal Cycles |  |  |  | 28
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 02:12:41
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 306.0
|  | Desorb End Time |  |  |  | 2022/09/02 02:17:42
|  | Trap Fire Time |  |  |  | 2022/09/02 02:25:24
|  | External signal |  |  |  | Reset
Sample 12 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 332-Set_15-TD_4698462022-09-02_02-30-11_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 62
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469846
|  | Thermal Cycles |  |  |  | 30
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 02:50:53
|  | Pressure Ratio |  |  |  | 0.90
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 02:55:54
|  | Trap Fire Time |  |  |  | 2022/09/02 03:03:33
|  | External signal |  |  |  | Reset
Sample 13 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 333-Set_15-TD_4698472022-09-02_03-08-17_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 63
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469847
|  | Thermal Cycles |  |  |  | 26
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 03:29:31
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 03:34:31
|  | Trap Fire Time |  |  |  | 2022/09/02 03:42:15
|  | External signal |  |  |  | Reset
Sample 14 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 334-Set_15-TD_4698492022-09-02_03-46-56_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 64
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469849
|  | Thermal Cycles |  |  |  | 24
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 04:08:13
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 04:13:14
|  | Trap Fire Time |  |  |  | 2022/09/02 04:20:52
|  | External signal |  |  |  | Reset
Sample 15 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 335-Set_15-TD_4698502022-09-02_04-25-33_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 65
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469850
|  | Thermal Cycles |  |  |  | 22
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 04:46:49
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 04:51:50
|  | Trap Fire Time |  |  |  | 2022/09/02 04:59:24
|  | External signal |  |  |  | Reset
Sample 16 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 336-Set_15-TD_4698512022-09-02_05-04-12_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 66
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469851
|  | Thermal Cycles |  |  |  | 22
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 05:25:22
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 05:30:23
|  | Trap Fire Time |  |  |  | 2022/09/02 05:38:00
|  | External signal |  |  |  | Reset
Sample 17 |  |  |  | Type: | Sample |  |  |  | Status: |  | Warning
| File: |  |  | 337-Set_15-TD_4698522022-09-02_05-42-42_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 67
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469852
|  | Thermal Cycles |  |  |  | 11
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Leak-test failure
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | TD100 Deviation |  |  |  | 7416: High Pressure Leak Failure, 06:00:17
|  | Leak Failures |  |  |  | 1
|  | External signal |  |  |  | Reset
Sample 18 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 338-Set_15-TD_4698532022-09-02_06-05-13_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 68
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469853
|  | Thermal Cycles |  |  |  | 28
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 06:30:26
|  | Pressure Ratio |  |  |  | 1.03
|  | Peak Desorb Temp |  |  |  | 306.4
|  | Desorb End Time |  |  |  | 2022/09/02 06:35:26
|  | Trap Fire Time |  |  |  | 2022/09/02 06:43:03
|  | External signal |  |  |  | Reset
Sample 19 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 339-Set_15-TD_4698542022-09-02_06-47-50_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 69
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469854
|  | Thermal Cycles |  |  |  | 25
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 07:09:01
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 305.9
|  | Desorb End Time |  |  |  | 2022/09/02 07:14:02
|  | Trap Fire Time |  |  |  | 2022/09/02 07:21:44
|  | External signal |  |  |  | Reset
Sample 20 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 340-Set_15-TD_4698592022-09-02_07-26-26_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 70
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469859
|  | Thermal Cycles |  |  |  | 19
|  | Sorbent Type |  |  |  | Universal: Tenax/Carbograph/C1000
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 07:47:41
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.1
|  | Desorb End Time |  |  |  | 2022/09/02 07:52:42
|  | Trap Fire Time |  |  |  | 2022/09/02 08:00:11
|  | External signal |  |  |  | Reset
Sample 21 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 341-Set_15-TD_4698642022-09-02_08-04-53_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 71
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469864
|  | Thermal Cycles |  |  |  | 14
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 08:27:01
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.1
|  | Desorb End Time |  |  |  | 2022/09/02 08:32:02
|  | Trap Fire Time |  |  |  | 2022/09/02 08:39:39
|  | External signal |  |  |  | Reset
Sample 22 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 342-Set_15-TD_4698812022-09-02_08-44-21_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 72
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469881
|  | Thermal Cycles |  |  |  | 23
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 09:05:35
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.1
|  | Desorb End Time |  |  |  | 2022/09/02 09:10:36
|  | Trap Fire Time |  |  |  | 2022/09/02 09:18:14
|  | External signal |  |  |  | Reset
Sample 23 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 343-Set_15-TD_4698822022-09-02_09-23-02_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 73
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469882
|  | Thermal Cycles |  |  |  | 26
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 09:44:13
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 306.6
|  | Desorb End Time |  |  |  | 2022/09/02 09:49:14
|  | Trap Fire Time |  |  |  | 2022/09/02 09:56:48
|  | External signal |  |  |  | Reset
Sample 24 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 344-Set_15-TD_4698832022-09-02_10-01-35_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 74
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 469883
|  | Thermal Cycles |  |  |  | 25
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 10:22:46
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 306.2
|  | Desorb End Time |  |  |  | 2022/09/02 10:27:47
|  | Trap Fire Time |  |  |  | 2022/09/02 10:35:23
|  | External signal |  |  |  | Reset
Sample 25 |  |  |  | Type: | Sample |  |  |  | Status: |  | Warning
| File: |  |  | 345-Set_16-TD_4598082022-09-02_10-40-08_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 75
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | TD100 Deviation |  |  |  | 7302: Tube Not Found, 10:56:20
|  | External signal |  |  |  | Reset
Sample 26 |  |  |  | Type: | Sample |  |  |  | Status: |  | Warning
| File: |  |  | 346-Set_16-TD_4598092022-09-02_11-02-32_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 76
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | TD100 Deviation |  |  |  | 7302: Tube Not Found, 11:23:06
|  | External signal |  |  |  | Reset
Sample 27 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 347-Set_16-TD_4598102022-09-02_11-29-38_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 77
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459808
|  | Thermal Cycles |  |  |  | 33
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 11:54:49
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.4
|  | Desorb End Time |  |  |  | 2022/09/02 11:59:50
|  | Trap Fire Time |  |  |  | 2022/09/02 12:07:37
|  | External signal |  |  |  | Reset
Sample 28 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 348-Set_16-TD_4598112022-09-02_12-12-22_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 78
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459809
|  | Thermal Cycles |  |  |  | 22
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 12:33:33
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 306.0
|  | Desorb End Time |  |  |  | 2022/09/02 12:38:34
|  | Trap Fire Time |  |  |  | 2022/09/02 12:46:12
|  | External signal |  |  |  | Reset
Sample 29 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 349-Set_16-TD_4598122022-09-02_12-50-56_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 79
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459810
|  | Thermal Cycles |  |  |  | 18
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 13:12:10
|  | Pressure Ratio |  |  |  | 0.99
|  | Peak Desorb Temp |  |  |  | 305.9
|  | Desorb End Time |  |  |  | 2022/09/02 13:17:11
|  | Trap Fire Time |  |  |  | 2022/09/02 13:24:51
|  | External signal |  |  |  | Reset
Sample 30 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 350-Set_16-TD_4598132022-09-02_13-29-30_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 80
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459811
|  | Thermal Cycles |  |  |  | 28
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 13:50:19
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 13:55:20
|  | Trap Fire Time |  |  |  | 2022/09/02 14:03:01
|  | External signal |  |  |  | Reset
Sample 31 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 351-Set_16-TD_4598142022-09-02_14-07-44_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 81
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459812
|  | Thermal Cycles |  |  |  | 26
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 14:29:20
|  | Pressure Ratio |  |  |  | 0.84
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 14:34:21
|  | Trap Fire Time |  |  |  | 2022/09/02 14:42:04
|  | External signal |  |  |  | Reset
Sample 32 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 352-Set_16-TD_4598162022-09-02_14-46-48_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 82
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459813
|  | Thermal Cycles |  |  |  | 21
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 15:07:31
|  | Pressure Ratio |  |  |  | 0.99
|  | Peak Desorb Temp |  |  |  | 306.0
|  | Desorb End Time |  |  |  | 2022/09/02 15:12:31
|  | Trap Fire Time |  |  |  | 2022/09/02 15:20:19
|  | External signal |  |  |  | Reset
Sample 33 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 353-Set_16-TD_4598182022-09-02_15-25-02_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 83
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459814
|  | Thermal Cycles |  |  |  | 36
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 15:46:14
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 15:51:15
|  | Trap Fire Time |  |  |  | 2022/09/02 15:58:59
|  | External signal |  |  |  | Reset
Sample 34 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 354-Set_16-TD_4598192022-09-02_16-03-44_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 84
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459816
|  | Thermal Cycles |  |  |  | 30
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 16:24:55
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.3
|  | Desorb End Time |  |  |  | 2022/09/02 16:29:57
|  | Trap Fire Time |  |  |  | 2022/09/02 16:37:36
|  | External signal |  |  |  | Reset
Sample 35 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 355-Set_16-TD_4598202022-09-02_16-42-23_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 85
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459818
|  | Thermal Cycles |  |  |  | 41
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 17:03:36
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 17:08:37
|  | Trap Fire Time |  |  |  | 2022/09/02 17:16:18
|  | External signal |  |  |  | Reset
Sample 36 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 356-Set_16-TD_4598212022-09-02_17-21-05_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 86
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459819
|  | Thermal Cycles |  |  |  | 34
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 17:42:16
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.5
|  | Desorb End Time |  |  |  | 2022/09/02 17:47:16
|  | Trap Fire Time |  |  |  | 2022/09/02 17:54:59
|  | External signal |  |  |  | Reset
Sample 37 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 357-Set_16-TD_4598222022-09-02_17-59-41_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 87
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459820
|  | Thermal Cycles |  |  |  | 35
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 18:20:56
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.3
|  | Desorb End Time |  |  |  | 2022/09/02 18:25:57
|  | Trap Fire Time |  |  |  | 2022/09/02 18:33:49
|  | External signal |  |  |  | Reset
Sample 38 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 358-Set_16-TD_4598232022-09-02_18-38-32_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 88
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459821
|  | Thermal Cycles |  |  |  | 36
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 18:59:47
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 306.3
|  | Desorb End Time |  |  |  | 2022/09/02 19:04:48
|  | Trap Fire Time |  |  |  | 2022/09/02 19:12:33
|  | External signal |  |  |  | Reset
Sample 39 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 359-Set_16-TD_4598242022-09-02_19-17-16_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 89
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459822
|  | Thermal Cycles |  |  |  | 20
|  | Sorbent Type |  |  |  | Bio-monitoring/TnxTA/Cg5
|  | Tube Status |  |  |  | Re-collected
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 19:37:59
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 305.7
|  | Desorb End Time |  |  |  | 2022/09/02 19:43:00
|  | Trap Fire Time |  |  |  | 2022/09/02 19:50:49
|  | External signal |  |  |  | Reset
Sample 40 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 360-Set_16-TD_4598252022-09-02_19-55-36_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 90
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459823
|  | Thermal Cycles |  |  |  | 20
|  | Sorbent Type |  |  |  | Bio-monitoring/TnxTA/Cg5
|  | Tube Status |  |  |  | Re-collected
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 20:16:47
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.2
|  | Desorb End Time |  |  |  | 2022/09/02 20:21:48
|  | Trap Fire Time |  |  |  | 2022/09/02 20:29:27
|  | External signal |  |  |  | Reset
Sample 41 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 361-Set_16-TD_4598282022-09-02_20-34-10_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 91
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459824
|  | Thermal Cycles |  |  |  | 19
|  | Sorbent Type |  |  |  | Bio-monitoring/TnxTA/Cg5
|  | Tube Status |  |  |  | Re-collected
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 20:56:17
|  | Pressure Ratio |  |  |  | 0.87
|  | Peak Desorb Temp |  |  |  | 306.6
|  | Desorb End Time |  |  |  | 2022/09/02 21:01:17
|  | Trap Fire Time |  |  |  | 2022/09/02 21:08:56
|  | External signal |  |  |  | Reset
Sample 42 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 362-Set_16-TD_4598302022-09-02_21-13-39_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 92
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459825
|  | Thermal Cycles |  |  |  | 31
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 21:34:25
|  | Pressure Ratio |  |  |  | 0.87
|  | Peak Desorb Temp |  |  |  | 306.0
|  | Desorb End Time |  |  |  | 2022/09/02 21:39:26
|  | Trap Fire Time |  |  |  | 2022/09/02 21:47:16
|  | External signal |  |  |  | Reset
Sample 43 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 363-Set_16-TD_4598412022-09-02_21-51-59_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 93
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459837
|  | Thermal Cycles |  |  |  | 28
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 22:13:13
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.0
|  | Desorb End Time |  |  |  | 2022/09/02 22:18:14
|  | Trap Fire Time |  |  |  | 2022/09/02 22:26:02
|  | External signal |  |  |  | Reset
Sample 44 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 364-Set_16-TD_4598432022-09-02_22-30-44_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 94
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459830
|  | Thermal Cycles |  |  |  | 27
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 22:51:32
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.6
|  | Desorb End Time |  |  |  | 2022/09/02 22:56:32
|  | Trap Fire Time |  |  |  | 2022/09/02 23:04:13
|  | External signal |  |  |  | Reset
Sample 45 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 365-Set_16-TD_4598452022-09-02_23-08-56_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 95
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459841
|  | Thermal Cycles |  |  |  | 23
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/02 23:30:09
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.2
|  | Desorb End Time |  |  |  | 2022/09/02 23:35:10
|  | Trap Fire Time |  |  |  | 2022/09/02 23:43:00
|  | External signal |  |  |  | Reset
Sample 46 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 366-Set_16-TD_4487942022-09-02_23-47-40_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 96
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459843
|  | Thermal Cycles |  |  |  | 30
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/03 00:08:28
|  | Pressure Ratio |  |  |  | 1.00
|  | Peak Desorb Temp |  |  |  | 306.3
|  | Desorb End Time |  |  |  | 2022/09/03 00:13:28
|  | Trap Fire Time |  |  |  | 2022/09/03 00:21:15
|  | External signal |  |  |  | Reset
Sample 47 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 367-Set_16-TD_4487952022-09-03_00-26-00_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 97
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 459845
|  | Thermal Cycles |  |  |  | 28
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/03 00:46:43
|  | Pressure Ratio |  |  |  | 0.95
|  | Peak Desorb Temp |  |  |  | 305.9
|  | Desorb End Time |  |  |  | 2022/09/03 00:51:43
|  | Trap Fire Time |  |  |  | 2022/09/03 00:59:29
|  | External signal |  |  |  | Reset
Sample 48 |  |  |  | Type: | Sample |  |  |  | Status: |  | Complete
| File: |  |  | 368-Set_16-TD_4487962022-09-03_01-04-11_1
| Method: |  |  | BenchTOF_H2 (1)
Markes TD
|  | Tube |  |  |  | 98
|  | Re-collection type |  |  |  | Same
Agilent 68xx/78xx/9000/88xx/7697/G1888 GC/HS
ICFVariables
Report
|  | $$InstrumentConfig$$ |  |  |  | TD100
|  | Tube Number |  |  |  | 448794
|  | Thermal Cycles |  |  |  | 26
|  | Sorbent Type |  |  |  | Hydrophobic: Tenax/Carbograph
|  | Tube Status |  |  |  | Re-collected
|  | Text |  |  |  | RS
Sample Start Time
Sample End Time
|  | Desorb Start Time |  |  |  | 2022/09/03 01:24:57
|  | Pressure Ratio |  |  |  | 0.97
|  | Peak Desorb Temp |  |  |  | 306.3
|  | Desorb End Time |  |  |  | 2022/09/03 01:29:57
|  | Trap Fire Time |  |  |  | 2022/09/03 01:37:42
|  | External signal |  |  |  | Reset